## Slide 1: The Planning of Reliability Centered Maintenance Programs for Nuclear Fusion Power Plant
I-Li Lu, Ph.D.
Applied Statistics,
Applied Mathematics
Platform Performance Technology

## Slide 2: Presentation Outline
Objectives
Solutions based on the Integrated Decision Evaluation & Analysis System (IDEAS)
Optimization Concepts
Cyclical Random Plasma Leakage Models
Simulation
Conclusion

## Slide 3: Objectives
Reliability, Availability, Maintainability, and Inspectability (RAMI):
DEMO must demonstrate a high enough availability for power producers to build a commercial fusion plant.
Power producers cannot expect an ultimate fusion power plant availability of 80% (or more) if DEMO cannot demonstrate a 50% or higher availability. Achieving this DEMO availability goal will require reliability in component design, design integration for RAMI , high maintainability, and systems to monitor and inspect components. We must develop and qualify methods and capabilities needed to achieve RAMI objectives.

## Slide 4: An Integrated Decision Evaluation & Analysis System
  Data Mining
  Data Mapping
  Text Mining
  Integrated Statistical analysis
  For Independent and Correlated
  Systems and Components
  Risk Management
      Reliability
      Maintainability
      Availability
      Survivability
  Constrained Cost Minimization
  Root Causes
  Degradation Models
  Adaptive methods (Correction
  Factor, MCF-NHP, Flowgraph)
  Bayesian Prior and Update
  Diagnosis/Prognosis
  Structural Data:
  In-service failures
  Event history
  Semi-structural Data:
  Maintenance Data
  Un-structural Data:
  Real-time Feed:
  Sensor feed
  MMSGs and FDEs
  Reference Data:
  Engineering input
  Maintenance Guide
  Bulletins
  Parts Consumption Data
  Parts Sales Data
Input
Statistical Analysis
  Diagnostics/Prognostics
  Optimization Opportunity
  Monitoring & Alerting
  Program Management
  Health Management
  Decision Support
  System/Component Redesign
  Optimal Troubleshooting Procedures
  Mission Readiness
Output

## Slide 5: Fusion R&D-Unique Tailoring
Inherent, but not obvious, in Reliability Centered Maintenance (RCM) and IDEAS is the process for handling large technological leaps
Large technology leaps were the hidden driver for RCM and IDEAS
IDEAS includes:
  Standardized reliability analysis processes
  Statistical treatment of recorded data
  Analysis of model-generated data
  Feedback of the above into testing
Items 2 – 4 address technology leaps
Fusion tailoring must include a large expansion of modeling, analysis of model results, and input of analysis results into experiment planning

## Slide 6: Fusion RAMI Approach
Using standard methods, develop a Reliability Estimation Tool
Purposes of the Tool
  Estimate reliability of the fusion power plant, plant systems, subsystems, and devices
  Availability Estimates
  Sensitivity Analyses
    Maintenance Intervals
    Maintenance Approach Analyses
    Critical Item/Technology Identification
  Experiment Planning Guidance
  Facility Planning Guidance

## Slide 7: Reliability Estimation Tool Structure
Overall tool structure designed and maintained by Boeing
Plant → System → Subsystem → Element breakdown defined by Boeing and power plant team
Data Mining of historical results by Boeing
Physical modeling of material/component behavior (for situations where historical data is unavailable or inadequate) by power plant team members or fusion community at large, as needed
Feedback of tool results to power plant team by Boeing
Experiment/Facility planning inputs by power plant team to fusion community

## Slide 8: Integrated RAMI Programs for Nuclear Fusion Power Core
Control
Systems
Venting Systems
Structure
& Shield
Divertors
Monitoring & Alerting
Cooling
Systems
Support
Systems
CBM
PM
PM & CBM
PM
PM & CBM
PM

## Slide 9
The IDEAS for Nuclear Fusion Power Plant

## Slide 10: Flat Plate Divertor
Tungsten HCFP (Helium-cooled Flat Plate) divertor

## Slide 11: Lower Bound : Edge-Localized Mode
120
Non-zero flux from -6.0 cm
to 30.5 cm: = 36.5 cm
4 x 37.5 cm = 150 cm
Call original length 37.5 cm
Expand all dimensions by 4
Plate is 150 cm long, from
-25 cm to 125 cm
Reduce all energies by 4 to keep total energy constant
0
20
40
60
80
100
-20
2.50
1.25

## Slide 12: Upper Bound : Edge-Localized Mode
120
Non-zero flux from -6.0 cm
to 30.5 cm: = 36.5 cm
4 x 37.5 cm = 150 cm
Call original length 37.5 cm
Expand all dimensions by 4
Plate is 150 cm long, from
-25 cm to 125 cm
0
20
40
60
80
100
-20

## Slide 13: Optimization Concepts – Flat Plate Divertor
Operating Time
Degradation
TMF
TSF
Significant damage (Evident)
On-set point.
(Opportunity for PM)
Effective Maint. Interval
(Latent Defect Zone)
Too Early
(No Finding zone)
Too Late
(Failure Zone)
Minor Damage (Potential)
Evident or Hidden Failures – that would lead to unacceptable operational penalties or cost.
Potential Failures – that do not have operational impact but would potentially cause failure if left un-attended.
Opportunity for CBM
Extended life
Results of Corrective or Preventive action
Accelerated Degradation
Early Failure Induced by Premature PM

## Slide 14: A Random Degradation Model – Cumulative Damage Assessment for FPD
System
Survivability
Link between field data and system survival
Probability interval
Stochastic
Process
Degradation
subjective information, random shocks, environments, extreme temperature
Interdependency of components - multivariate lifetime distributions
Interdependency of joint prior beliefs - multivariate prior distributions
Complete interdependency - both conditions above
Hazard Rate
Reliability
Stochastic Integration noise filter through random processes
Explore: Cyclical Random Plasma Leakage Models
usage rates
design changes
System survivability
Covariates

## Slide 15: Cyclical Random Plasma Leakage Models
Random Plasma Spills (Edge Localized Modes)
  Two variables
    Frequency of the spills (q) : average of 3 times per second (within 1 to 5 Hz) where q ~ N(mq =3, sq =1).
    How much power (w) deposited on the divertor on location d at time t given a spill has occurred : where w ~ N( mw, sw | d ) and mw and sw will have values specified by the ELM power distribution table.
  Let ht(w|d) be the random process through time with imbedded random periodicity q and power deposited at time t on location d. We may use
  as the simulation model to assess the cumulative damage on the outer divertor (degradation model)
Cyclical Random Plasma Leakage Models

## Slide 16: Degradation Model

## Slide 17: Lifetime Events Extracted from the Degradation Model

## Slide 18: Reliability Model
TH Weibull

## Slide 19: Reliability Centered Maintenance Process

## Slide 20: Cyclical Random Plasma Leakage Models
Random Plasma Spills (Edge Localized Modes)
  Create the Spill Model to describe the power deposit through time on the outer divertor. - Done
  Construct the degradation model for the outer divertor using accumulated heat deposits - Done
  Set initial thresholds (from SMEs or lab test results) to determine the theoretical failure data with censoring mechanism - Next
  Analyze the theoretical failure data to recommend initial threshold maintenance schedule
  Collect actual field maintenance data and associated degradation measures to update the degradation model and the threshold value.
  Use the updated threshold value to determine the empirical failure data
  Analyze the empirical failure data to recommend maintenance schedule for recurrent failure events

## Slide 21: Threshold Plan
Return to plate-type divertor design and thermal stress analyses from ARIES
Make first estimate of “Failure Threshold” for divertor
Insert threshold in reliability model